## Slide 1
“Electricity trading in/with the MENA region: what are the missing links/requirements?”
Introduction to the round table #2
Benoît Esnault (CRE, France)
Vice-chair of MEDREG electricity working group
MEDTSO-MEDREG workshop, February 9, 2022

## Slide 2
Towards Mediterranean electricity market integration
Southern and Eastern Mediterranean countries have to decide whether to keep looking and further focus on meeting the internal demand through investing in power generation internally, keeping the usage of cross-border interconnections only for security of supply purposes, or, alternately, look at the benefits that a difficult process such as market integration could bring to their energy system. In this framework, such process should be based on:
Facilitating RES integration and developing new flexibility mechanisms which suits the rise of decentralized electricity systems
4
Diversifying energy sources mostly with the development of RES
Increasing cross-border trade beyond the needs of TSOs and involving also market participants
3
Planning and developing regional interconnections
2
1
Long term period: common investment planning and project management
How?
Short term period: regulatory harmonization

## Slide 3
3
Role of regulators and TSOs
  Many regulators are involved in terms of approval of the development plans of the TSO, therefore, approval of the new interconnection lines.
  Some regulators, monitor the operation of the TSO and the cross-border interconnections.
  TSOs cooperate with each other to develop and operate the interconnections.
Preliminary CBCA criteria
Application with Mediterranean Project 1 results
Results + lessons learnt
Revised CBCA criteria
Final application with Mediterranean Project 2 results
MEDREG Input
  MEDREG and MEDTSO cooperation in the CBCA analysis

## Slide 4
4
  Perspectives in the Maghreb and Mashreq sub-regions
In the Maghreb, the focus is more on regulatory harmonization than interconnection development.
In the Mashreq, the aim is to maximize the net transfer capacity and improve the energy trade.

## Slide 5: Corso di Porta Vittoria, 27 20122 Milan | Italy www.medreg-regulators.org